## ApplianceModel
Arcserve Appliance Sizing Tool
Recommended Appliance Model
Annual data growth | 42% |  | Annual data growth rate. IDC reports 42%. Arcserve Customers often cite 15%.
Daily change rate | 2% |  | Annual data change rate. Reports use 2%. Arcserve Customers often cite 1%.
Storage capacity reduction with deduplication and compression | 66% | 3 | Real world reduction varies from 66% (3:1) to 90% (10:1)
On-site retention policy (months) | 12 |  | Keeping data on-site
Number of servers/VMs | 4 |  | Total number of protected systems, physical and/or virtual.
Total data volume | 14 |  | Total amount of data in protected systems, before compression.
| Now | In 1 Year | In 2 Years | In 3 Years | In 4 Years | In 5 Years
Source data (TB) | 14 | 19.88 | 28.2296 | 40.086 | 56.9222 | 80.8295
Effective capacity required (TB) | 49.96 | 71.0692 | 101.0443 | 143.6089 | 204.0506 | 289.8778
Usable capacity: backups and indices | 21.6493 | 30.7967 | 43.7858 | 62.2305 | 88.4219 | 125.6137
Custom additional capacity: High Availability | 0 | 0 | 0 | 0 | 0 | 0
Custom additional capacity: Virtual Standby | 0 | 0 | 0 | 0 | 0 | 0
Custom additional capacity: site-to-site backup replication | 0 | 0 | 0 | 0 | 0 | 0
Usable capacity: total | 21.6493 | 30.7967 | 43.7858 | 62.2305 | 88.4219 | 125.6137
Suggested Arcserve Appliance Model
| Current | In 1 Year | In 2 Years | In 3 Years | In 4 Years | In 5 Years
Quantity | 1 | 1 | 1 | 1 | 1 | 1
Minimum Model | 9072DR | 9144DR | 9192DR | 9240DR | 9360DR | 9504DR
Rev 190805. Copyright © 2019 Arcserve (USA), LLC. All rights reserved. All trademarks, trade names, service marks and logos referenced herein belong to their respective owners. This tool is for your informational purposes only. Arcserve assumes no responsibility for the accuracy or completeness of the estimations and information provided. To the extent permitted by applicable law, Arcserve provides this tool “as is” without warranty of any kind, including, without limitation, any implied warranties of merchantability, fitness for a particular purpose, or non-infringement. In no event will Arcserve be liable for any loss or damage, direct or indirect, from the use of this document, including, without limitation, lost profits, business interruption, goodwill or lost data, even if Arcserve is expressly advised in advance of the possibility of such damage.
Note on B1: This tool allows you to quickly estimate the model of the Arcserve Appliance, based on protected data volume. Arcserve and Arcserve Partner Experts are happy to help you with this estimation - and can help estimate additional business justification - including Return-on-Investment (ROI). Feel free to contact your Arcserve Reseller or Arcserve Representative for more details.
Note on C5: Based on "IDC Data Age 2025" report by IDC https://www.seagate.com/our-story/data-age-2025/
Note on C6: Source: https://searchstorage.techtarget.com/answer/Daily-data-volatility-rates
Note on C7: Input either percentage (0%-99%) or a ratio basis (e.g. 3 for ratio of 3:1 or 10 for ratio of 10:1). You will need to change the cell value type to "General" in the Home tab to input integer "3" instead of 3%. Arcserve uses conservative 66% (3:1 ratio) for calculating effective capacity of the appliance. 86% (7:1) to 90% (10:1) are often reported by the Arcserve customers.
Note on D7: Data reduction ratio, calculated based on the input
Note on C8: Many Arcserve customers use Grandfather-Father-Son strategy, keeping a certain number of Monthly backups (this field), five Weekly backups and seven Daily backups. Number of Weekly and Daily backups for this tool can be adjusted in the "Lists and Variables" tab.
Note on C9: Input number of protected systems (physical servers or virtual machines)
Note on C10: Enter total amount of data on protected systems. Do not add free space, and do not substract operating system space. Simply input the number, the " TB" will be added automatically. It's suggested to round to the whole number of Terabytes - the tool will use decimals in calculations, but will not show decimals in any results.
Note on B13: Source Data Projections are based on the data sizes and the data growth (default of 42%) selected above
Note on B14: Effective Capacity is total amount of backups created, based on the: - Source Data (the table above) - Number of daily, weekly and monthly recovery points. Daily (7) and weekly (4) recovery points can be adjusted in "Lists and Variables", and monthly (12) is set on "Cover Page" - Daily, Weekly and Monthly data changes. Daily change (1%) is set on "Cover Page", Weekly change by default equals 3.5x Daily Change - presuming that 50% of data will be overwritten each day. Monthly change by default equals 2x Weekly Change, presuming that 50% of data will be overwritten each week. These defaults can be adjusted on the "Lists and Variables" - The fact that OS (default of 100GB, or 0.1TB) will be nearly identical on each system, and will be deduplicated across Intraday backups are not calculated, and are presumed to be removed daily
Note on B15: Usable Capacity on the appliance HDDs is the space required to store all backups after deduplication. Backups are calculated based on total effective capacity divided by dedup ratio from "Cover Page". Indices for fast search of files/data are 10% of the effective capacity. Hash Databases are not calculated, as they are stored on the dedicated SSDs
Note on B16: If you are planning to add High Availability capability with Arcserve RHA, please input the total data capacity on those systems here. Arcserve RHA will create Hyper-V VM in native format on the appliance filesystem, without compression or deduplication.
Note on B17: If you are planning to proactively protect some systems with Virtual Standby, please input the total size of the data on those systems here. Virtual Standby maintains a virtual copy of the protected system in the native, Hyper-V format on the appliance filesystem, without compression or deduplication. Note, you can always spin up VMs reactively with Instant VM, that does not require space on the HDD, but may require more resources to operate.
Note on B18: If you have multiple sites and plan to replicate appliance from Site A to Site B and vice versa, you will need space to store backups from another site on this appliance. Input the amount of the Backups and Indices, calculated with the same tool for the other site.
Note on B21: Suggested Appliance model is the minimum model based on the required Usable Capacity. It is suggested to consider at least 2-3 years (best 5 years), as the data growth will be taken into account. If the amount of data exceeds the maximum model, the tool will advise the number of appliances as well.
Note on B23: If the amount of data exceeds the maximum capacity of the largest model, the tool will suggest multiple appliances
Note on B24: Based on the capacity required, this is the minimum Arcserve Appliance model, taking the data growth into accounts. The tool adds 10% to the total required capacity to avoid underestimating the model.

## Lists and Variables
Arcserve Appliance Models
Usable Capacity | Model
4 | 9012
8 | 9024
16 | 9048
24 | 9072DR
32 | 9096DR
48 | 9144DR
64 | 9192DR
80 | 9240DR
96 | 9288DR
120 | 9360DR
168 | 9504DR
Average size of OS (TB) | 0.1 | Amount of OS contents that is assumed to be identical across all servers, and deduplicated into one copy
Daily Recovery Points | 7 | Number of daily recovery points in the retention policy
Weekly Recovery Points | 5 | Number of weekly recovery points in the retention policy
Weekly Data Change | 7% | Weekly data change. Assumed to be 3.5 times the Daily Change, assuming 50% of same daily data is overwritten daily
Monthly Data Change | 17.5% | Monthly data change. Assumed to be 2.5 times Weekly Change, assuming 50% of same weekly data is overwritten weekly
Note on A1: Lists of Arcserve Appliances and associated Standard List Price. Used in the "ApplianceModel" and "CompareDIY".
Note on A16: Many businesses use the same OS for each of their workloads, and the OS will be deduplicated into single copy. "ApplianceModel" calculation will deduct the OS from the data calculations, assuming that, effectively, only one copy of OS will be stored in the appliance. Default 0.1 TB or 100GB represents Windows Server 2016 and a set of standard applications, like Infrastructure Management agents, Antivirus, etc. Input just the digits - the " TB" will be added automatically.
Note on A17: Arcserve Appliances support multi-tier retention policies named GFS or "Grandfather-father-son". In this policy, the administrator would set a number of daily, weekly and monthly recovery points to keep. Businesses usually define the number of months, and it can be adjusted in "Cover Page". This setting define a number of daily recovery points kept in the appliance. Default 7 means that the week worth of daily backups will be stored in the appliance. After a week, only a weekly backup will remain, and daily backups will be deleted to save space.
Note on A18: Arcserve Appliances support multi-tier retention policies named GFS or "Grandfather-father-son". In this policy, the administrator would set a number of daily, weekly and monthly recovery points to keep. Businesses usually define the number of months, and it can be adjusted in "Cover Page". This setting defines a number of weekly recovery points kept in the appliance. Default 4 means that the month worth of weekly backups will be stored in the appliance. After a month, only monthly backups will remain, and last month's weekly backups will be deleted to save space.
Note on A19: Weekly backup stores all data that changed since last week's backup. If the same data changed over and over, only the latest change is saved. Even if the default daily change is 2%, the weekly change will be less than cumulative maximum of 14%. By default, the change here is calculated as 3.5x the daily change, assuming that half of the data was overwritten. Feel free to either provide exact percentage value, or adjust the formula
Note on A20: Monthly backup stores all data that changed since last month's backup. If the same data/file changed over and over, only the latest change is saved. Even if the default weekly change is 7%, the monthly change will be less than cumulative maximum of 31%. By default, the montly change is calculated as 2x the daily change, assuming that about 50% of the data was overwritten. Feel free to either provide exact percentage value, or adjust the formula.